## OFFS
~Scenario:FI_X_CNB |  |  | TRUE | File: | C:\data\NCES 2020 Nordic NER\WP4\[Scen_FI_X_CNB.xlsx]OFFS
~TFM_DINS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD
|  |  | * |  | 0 | 0 | 0
|  | N | NCAP_BND |  | 0 | 2020 | 2020 |  |  |  | EURALWR-05
|  | N | NCAP_BND |  | 2035 | 2100 | 2100 |  |  |  | EURALWR-05
|  | N | NCAP_BND |  | 0 | 2100 | 2100 |  |  |  | EURALWR-10
|  | N | NCAP_BND |  | 0 | 2100 | 2100 |  |  |  | EURAPBR-05
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | ELCHYSD00
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | ELCHYSW00
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | ELCHYSS00
|  | N | NCAP_BND |  | 0 | 2100 | 2200 |  |  |  | EGEOBNY105
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | HETGEOP105
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | FT-RESGEO5
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | FT-COMGEO5
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | FT-INDGEO5
|  | N | NCAP_BND |  | 0 |  | 2200 |  |  |  | FT-COMCOP5
*
|  |  | START |  |  |  | 2025 |  |  |  | DHP1COACFB-0
|  |  | START |  |  |  | 2025 |  |  |  | DHP1COAIGC-0
|  |  | START |  |  |  | 2025 |  |  |  | DHP1COAPFB-0
|  |  | START |  |  |  | 2025 |  |  |  | DHP1COAPFU+0
|  |  | START |  |  |  | 2025 |  |  |  | DHP1GASCCT-0
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | DHP1BIOFCS+0
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | DHP3BIOFCS+0
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | DHP1BCOFCS+0
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | DHP3BCOFCS+0
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | DHP1NUCPBR-0
|  | N | NCAP_BND |  | 2020 | 2070 | 2070 |  |  |  | DHP1COAPFS-0
*
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | ILPPUM008
|  | N | NCAP_BND |  | 0 | 2110 | 2110 |  |  |  | ILPMIX370
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | IISBOF007
|  | N | NCAP_BND |  | 0 | 2070 | 2070 |  |  |  | IISDRI007
|  | N | NCAP_BND |  | 0 | 2035 | 2035 |  |  |  | IISSRD005
|  | N | NCAP_BND |  | 0 | 2050 | 2050 |  |  |  | ILPBLQFT005
|  | N | NCAP_BND |  | 0 | 2010 | 2010 |  |  |  | ILPPAP007
*
|  | N | NCAP_BND |  | 0 | 2060 |  |  |  |  | AN2OMMM1
|  | N | NCAP_BND |  | 0 | 2060 |  |  |  |  | AN2OMMM2
|  | N | NCAP_BND |  | 0 | 2060 |  |  |  |  | AN2OMMM3
|  | N | NCAP_BND |  | 0 | 2060 |  |  |  |  | AN2OMMM4
|  | N | NCAP_BND |  | 0 | 2005 |  |  |  |  | DNETSCO2
~TFM_INS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_Set | Pset_PN | Pset_PD | Pset_CO | Pset_CI | Cset_Set | Cset_CN | Cset_CD | Top_Check
|  |  | NCAP_START |  |  | 2200 | 2200 |  | IMPDE_Z,IMPMA_Z
|  |  | NCAP_START |  |  |  | 2200 |  | DH_3*
|  | UP | NCAP_BND |  | 2015 | 0 | 0 | CHP | D*
|  | UP | NCAP_BND |  | 2020 | 0 |  | CHP | D*,-DHP1COACFB-0 |  |  | ELCCOA
|  | FX | NCAP_BND |  | 2020 | 0 | 0 | CHP | DHP1COACFB-0
|  | N | NCAP_BND |  | 0 | 2030 | 2030 | CHP | DHP1COAPF_+0
|  | N | NCAP_BND |  | 0 |  | 2025 | CHP | DHP1COA*
|  | N | NCAP_BND |  | 0 | 2020 | 2020 | ELE | ENGACC*
|  | N | * |  | 0 | 2050 | 2050 | CHP | DHL1COACF*
|  |  | PRC_RESID |  | 2020 | 0 |  |  | DHPCOAP100

## RENEWS
~TFM_INS
TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Curr | Top_Check
ANNUAL |  | FLO_SUB |  | 2040 | 0.5 | 0.5 |  |  | ELCWIN |  |  |  | ELC* | EUR10 | O
ANNUAL | FX | COM_BNDNET |  | 0 | 2 | 2 | [6 empty] | ELCSOL
ANNUAL | FX | COM_BNDNET |  | 0 | 2 | 2 | [6 empty] | WIN
| UP | NCAP_BND |  | 0 | 4 | 4 |  |  |  | ESOLGEN00
| UP | NCAP_BND |  | 2015 | 0 | 0 |  |  |  | ESOLGEN00
| UP | CAP_BND |  | 2020 | 130 | 40 |  |  |  | ESOLGEN00
| UP | CAP_BND |  | 2040 | 170 | 100 |  |  |  | ESOLGEN00
| UP | PRC_MARK | ELCWIN | 2050 | 0.8 |  |  |  |  | EW* |  |  | G-PUBELC
~TFM_DINS
TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD
| UP | PRC_MARK | ESOPVD205 | 2030 | 0.03 | 0.03 |  |  | ELCSOL | ESOPVD205 |  |  | G-PUBELC
| UP | PRC_MARK | ESOPVD205 | 2050 | 0.1 | 0.1 |  |  | ELCSOL | ESOPVD205 |  |  | G-PUBELC
| UP | PRC_MARK | ESOPVD205 | 2090 | 0.15 | 0.15 |  |  | ELCSOL | ESOPVD205 |  |  | G-PUBELC
ANNUAL | LO | ACT_BND |  | 2010 | 1.062 |  |  |  |  | MINWIN0
ANNUAL | LO | ACT_BND |  | 2015 | 9.504 |  |  |  |  | MINWIN0
ANNUAL | LO | ACT_BND |  | 2020 | 23.4 |  |  |  |  | MINWIN0
ANNUAL | LO | ACT_BND |  | 2030 | 28.08 |  |  |  |  | MINWIN0
ANNUAL | LO | ACT_BND |  | 2040 | 30.888 |  |  |  |  | MINWIN0

## INDUP
| VEDA2 | 1
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | 2035 | 0 | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | TS_Filter
|  |  | * |  | FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 0
| ANNUAL |  | INPUT |  | FIN |  |  | 0.28391 | 0.28391 | 0.28391 | 0.28391 | [6 empty] | IIS000 |  |  | IISAOD
| ANNUAL |  | INPUT |  | FIN |  |  | 0.10816 | 0.11271 | 0.11271 | 0.11271 | [6 empty] | IIS000 |  |  | IISFEA
| ANNUAL | LO | FLO_SHAR | IIS000_MATI | FIN |  |  | 0.65113 | 0.65113 | 0.32557 | 0 |  |  |  | 5 |  |  | IIS000 |  |  | IISBOF
| ANNUAL | LO | ACT_BND |  | FIN |  |  | 3.3741 | 4.0551 | 4.15 | 4.25 |  | 3.699 | 3.9931 |  |  |  | ILPPEX000
|  | FX | PRC_MARK | ILPMIX100 | FIN |  |  | 0.48658 | 0.42741 | 0.38648 | 0.36223 |  | 0.45604 | 0.40643 |  |  |  | ILPMIX100 |  |  | G-PAPMIX
|  | FX | PRC_MARK | ILPMIX300 | FIN |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  |  | ILPMIX370 |  |  | G-PAPMIX
| ANNUAL |  | COM_IE |  | FIN |  |  | 1.3902 | 1.4199 | 1.4153 | 1.4125 |  | 1.405 | 1.4176 | [6 empty] | ILPPPW
| ANNUAL |  | COM_IE |  | FIN |  |  | 1.034 | 1.0345 | 1.0346 | 1.0346 |  | 1.0343 | 1.0345 | [6 empty] | ILPPOT
|  |  | PRC_ACTFLO |  | FIN |  |  | 1 | 1 | 1 | 1 |  | 1 | 1 |  |  |  | ILPMIX370 |  |  | ILPPOT
From BEST | ANNUAL |  | INPUT |  | FIN |  |  | 0.18169 | 0.18029 | 0.17873 | 0.17809 | [6 empty] | ILPMIX100 |  |  | ILPMRF
| ANNUAL |  | INPUT |  | FIN |  |  | 0.17763 | 0.17626 | 0.17473 | 0.1741 | [6 empty] | ILPMIX100 |  |  | ILPMGF
| ANNUAL |  | INPUT |  | FIN |  |  | 0.1774 | 0.15592 | 0.15765 | 0.15702 | [6 empty] | ILPMIX100 |  |  | ILPCHB
| ANNUAL |  | INPUT |  | FIN |  |  | 0.43237 | 0.45088 | 0.44773 | 0.4463 | [6 empty] | ILPMIX100 |  |  | ILPCSB
| ANNUAL |  | INPUT |  | FIN |  |  | 0.094875 | 0.091674 | 0.088889 | 0.087145 | [6 empty] | ILPMIX200 |  |  | ILPSCN
| ANNUAL |  | INPUT |  | FIN |  |  | 0.13189 | 0.1315 | 0.13124 | 0.13129 | [6 empty] | ILPMIX200 |  |  | ILPMRN
| ANNUAL |  | INPUT |  | FIN |  |  | 0.12805 | 0.12767 | 0.12742 | 0.12747 | [6 empty] | ILPMIX200 |  |  | ILPMGN
| ANNUAL |  | INPUT |  | FIN |  |  | 0.14571 | 0.12898 | 0.13152 | 0.13167 | [6 empty] | ILPMIX200 |  |  | ILPCHB
| ANNUAL |  | INPUT |  | FIN |  |  | 0.27058 | 0.28287 | 0.28229 | 0.28219 | [6 empty] | ILPMIX200 |  |  | ILPCSB
| ANNUAL |  | INPUT |  | FIN |  |  | 0.11406 | 0.12066 | 0.12117 | 0.12163 | [6 empty] | ILPMIX200 |  |  | ILPCSN
| ANNUAL | LO | FLO_MARK |  | FIN |  |  | 0.38272 | 1 | 1 | 1 |  | 0.74286 | 1 | 5 |  |  | ILPPUC115 |  |  | ILPCSB
| ANNUAL | LO | FLO_MARK |  | FIN |  |  | 0.42724 | 1 | 1 | 1 |  | 0.95238 | 1 | 5 |  |  | ILPPUC215 |  |  | ILPCHB
| ANNUAL | LO | FLO_MARK |  | FIN |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 5 |  |  | ILPPUC315 |  |  | ILPCSB
| ANNUAL | LO | FLO_MARK |  | FIN |  |  | 0 | 0 | 0 | 0 |  | 0 |  | 5 |  |  | ILPPUC415 |  |  | ILPCHB
| ANNUAL | LO | FLO_MARK |  | FIN |  |  | 0.5 | 0.6 | 0.6 | 0.6 |  |  |  | 5 |  |  | ILPPUC515 |  |  | ILPNFR
| ANNUAL |  | INPUT |  | FIN |  |  | 0.30479 | 0.27037 | 0.27513 | 0.27565 | [6 empty] | ILPPEX000 |  |  | ILPCHB
|  |  | COM_PROJ |  | FIN | 0 | 1 | 1 | 1 | 1 | 1 | [9 empty] | ILPNFR
Technologies |  |  | * |  |  | 0.0072807 | 0 | 0 | 0 | 0 | 0 | 0
– Hydrec steel |  | UP | FLO_MARK |  | FIN | [6 empty] | 0.6 | [5 empty] | IISDRI007 |  |  | G-IISTEEL
| ANNUAL | UP | FLO_SHAR | IIS000_MATI | FIN | [5 empty] | 0.37 | 0.4 | [5 empty] | IIS000 |  |  | IISSCR
|  | LO | FLO_MARK |  | FIN |  |  | 0.2 |  |  |  | 0.2 | [5 empty] | IPOIELC000 |  |  | IPOI
|  | LO | PRC_MARK | IPOIELC000 | FIN |  |  | 0 |  |  |  | 0 | [5 empty] | IPOIELC005 |  |  | IPOI
|  | FX | FLO_MARK |  | FIN |  | 1 | [7 empty] | 10 |  |  | IN2ONIT03 |  |  | INDNIT
*
|  | UP | FLO_MARK |  | FIN | 0.04 |  | 0.1 |  | 0.25 | 0.3 | [6 empty] | ONOE000 |  |  | ONO
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2015 | 2020 | 2030 | 2040 | 2050 | 2070 | 0 | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Tech_Desc | Cset_Set | Cset_CN
|  | LO | PRC_MARK | FT-INDELC0 | FIN |  |  | 0.7333 | [8 empty] | FT-INDELC0 |  |  | G-INDELC
|  | LO | PRC_MARK | FT-INDELC0 | FIM |  |  | 0.93 | [8 empty] | FT-INDELC0 |  |  | G-INDELC
|  | LO | PRC_MARK | IDT | FIN |  |  | 0.1 |  |  | 0.1 | [5 empty] | IDTHET000 |  |  | ISIS
|  | LO | PRC_MARK | IDT | FIN |  |  | 0.023 |  |  | 0.023 | [5 empty] | IDTHET000 |  |  | ISLP
|  | UP | FLO_MARK |  | FIN |  |  | 0.1 | 0.2 | 0.25 | 0.3 |  | 5 |  |  |  | IOOINGA005 |  |  | IOOI
|  | LO | PRC_MARK | IOOINGA000 | FIN |  |  |  | 0.052326 | 0.04 | 0.03 | [5 empty] | IOOINGA000 |  |  | IOOI
| ANNUAL | UP | FLO_SHAR | G-INDFUEL | FIN |  |  |  | 0.2 |  | 0.4 | [5 empty] | INMCMTDRY105 |  |  | INDBIO
| ANNUAL | UP | FLO_SHAR | G-INDFUEL | FIN |  |  |  | 0.2 |  | 0.4 | [5 empty] | INMCMTDRY705 |  |  | INDBIO
| ANNUAL |  | VDA_FLOP | ISLP | FIN |  |  | 8.66 | 8.1404 | [7 empty] | ILPPUC000
| ANNUAL |  | VDA_FLOP | ISLP | FIN |  |  | 0.2 | [8 empty] | ILPPUR000
~TFM_UPD
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD
Non-energy |  |  | ENV_ACT |  |  | *0.0 | *0.0 |  |  | IFCH* |  |  | INDCO2N
emissions |  |  | ENV_ACT |  |  | *.15 | *.15 |  |  | ICH*005 |  |  | INDCO2N
calibration |  |  | FLO_EMIS |  |  | *.75 | *.75 |  |  | NEO000 |  |  | INDCO2N
~TFM_INS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD | UC_N
|  | UP | UC_RHSRT | A_INDCOA | 2030 | 31 | [7 empty] | COAHCO |  | A_INDCOA
| ANNUAL |  | INPUT |  | 2020 | 2.05 | 2.05 |  |  |  | ILPPAP000 |  |  | IMLP
| ANNUAL |  | VDA_FLOP |  | 2030 | -0.007 | -0.007 |  |  |  | ICH000 |  |  | ICHOLF,ICHBTX
| ANNUAL |  | VDA_FLOP |  | 2050 | -0.007 |  |  |  |  | ICHOTH000 |  |  | IFCH
| ANNUAL |  | INPUT |  | 2015 | 0 |  |  |  |  | I00000 |  |  | INDELC
| ANNUAL |  | INPUT |  | 2030 | 1.296 |  |  |  |  | I00000 |  |  | INDELC
| ANNUAL | LO | FLO_SHAR | ACT | 2020 | 0.7 | 0.7 |  |  |  | IOW000 |  |  | MANRAW
| ANNUAL | UP | FLO_SHAR | ACT | 2030 | 0.4 |  |  |  |  | INMCMTBLD005 |  |  | MANBFS

## UPS_TFM
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2015 | 2020 | 2030 | 2040 | 2050 | 2070 | 0 | Curr | Pset_CO | Pset_CI | Pset_PN | Cset_Set | Cset_CN | Notes
|  | UP | CAP_BND |  | FIM |  | 0 | 5 | 15 |  |  |  | 1 |  |  |  | UPRL2G100
|  |  | PRC_ACTFLO | UPXREFO | FIN | 1 | 1.02 | [9 empty] | UTRNREFX00
| ANNUAL | LO | ACT_BND |  | FIN |  |  | 640 | 544 | 353.6 | 160 | 160 |  |  |  |  | UTRNREFX00
| ANNUAL |  | INPUT |  | FIN |  |  | 0.0077 | [8 empty] | UTRNREFX00 |  | UPNELC
| ANNUAL | UP | ACT_BND |  | FIN |  |  |  | 16.34 | 25 | [6 empty] | UFTSYNBDSL
| ANNUAL | UP | ACT_BND |  | FIM |  |  |  | 2.1 | 5 | 5 | [5 empty] | UFTSYNBDSL
| ANNUAL | LO | ACT_BND |  | FIN |  | 4.085 |  | 4.085 |  |  |  | 4 |  |  |  | UFTSYNBDSS
| ANNUAL | UP | ACT_BND |  | FIN |  |  | 4.4935 | 12.255 | 20.425 |  |  | 5 |  |  |  | UFTSYNBDSS
| ANNUAL | LO | CAP_BND |  | FIN |  |  |  | 22.9172 |  |  |  | 10 |  |  |  | UFTSYNBDSLH |  |  | UPM-Kotka
| ANNUAL | UP | NCAP_AF |  | FIN |  |  |  | 0.9 | [7 empty] | UFTSYNBDSLH |  |  | UPM-Kotka
| ANNUAL | UP | ACT_BND |  | FIN |  |  |  | 0 |  |  |  | 4 |  |  |  | UFTSYNBREF
| ANNUAL | UP | ACT_BND |  | FIN |  | 0 | 2.326 | 4.1868 |  |  |  | 4 |  |  |  | UFTSYNBMTG
| ANNUAL | LO | COM_BNDNET |  | FIN |  |  | 85 | 83.724 | [9 empty] | BWENET
| ANNUAL | LO | ACT_BND |  | FIN |  |  | 5.5 | 5.5 |  |  |  | 1 |  |  |  | IMPCONOVCY
|  |  | ACT_COST |  | FIM | 1 | [7 empty] | EUR10 |  |  | IMPELCFIM
| ANNUAL |  | FLO_COST |  | FIM | 0.69444 | [7 empty] | EUR10 |  |  | IMPCOAFIM |  | COABCO
| ANNUAL |  | FLO_COST |  | FIM | 0.6 | [7 empty] | EUR10 |  |  | IMPBIOFIM |  | BIOCRP
| ANNUAL |  | FLO_COST |  | FIM | 0.9 | [7 empty] | EUR10 |  |  | IMPBIOFIM |  | BIOSLD
| ANNUAL | UP | FLO_BND |  | FIM |  | 1.7 | [5 empty] | 5 |  |  |  | IMPCOAFIM |  | COABCO
| ANNUAL | UP | FLO_BND |  | FIM |  |  | 6.84 | 9.36 | 14.4 | 21.6 |  | 5 |  |  |  | IMPBIOFIM |  | BIOWOO
| ANNUAL | UP | FLO_BND |  | FIM |  |  |  | 4.9 |  | 7 |  | 5 |  |  |  | IMPBIOFIM |  | BIOCRP
| ANNUAL | LO | COM_BNDNET |  | FIN |  |  | 1 | 3 | 5 | 10 |  | 5 | [5 empty] | FIREWOOD
| ANNUAL | UP | ACT_BND |  | FIN | 150 | 200 | 300 | 800 | 1400 | 1900 | 2500 | 5 |  |  |  | UPNCO2SN0
| ANNUAL | UP | COM_BNDPRD |  | FIN |  | 1.5 | 2.7 | 8.1 |  |  |  | 4 | [5 empty] | BIOCRP
| ANNUAL | UP | COM_BNDPRD |  | FIN |  | 1.8 | 3.4 |  |  |  |  | 4 | [5 empty] | BIOSTR
|  | UP | CAP_BND |  | FIN | [5 empty] | 320 |  | 5 |  |  |  | UTRNREFX00
| ANNUAL | UP | ACT_BND |  | FIN |  | 0 |  |  |  | 0 |  | 5 |  |  |  | HZBCO105
| ANNUAL | UP | ACT_BND |  | FIM |  | 0 |  |  |  | 0 |  | 5 |  |  |  | HZBCO105
~TFM_DINS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | AllRegions | FIN | FIM | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD | Curr
|  |  | * |  | 0 |  | 0 | 0
|  |  | NCAP_COST |  | 2030 |  | 90 |  |  |  | UFTSYNBDSL |  |  |  |  | EUR10
|  |  | NCAP_COST |  | 2030 |  | 95 |  |  |  | UFTSYNBDSS |  |  |  |  | EUR10
|  |  | NCAP_COST |  | 2030 |  | 105 |  |  |  | ILPBIOFT005 |  |  |  |  | EUR10
| ANNUAL |  | VDA_FLOP | BIOADD | 2015 |  | 0.01867 |  |  |  | UTRNREFX00
| ANNUAL |  | FLO_COST |  | 2025 |  | 1 | 1 |  |  | RESWLF000 |  |  | BIOBMU |  | EUR10
| ANNUAL |  | FLO_EMIS | BIOBSL | 2025 |  | 0 | 0 |  |  | UFTSYNBREF |  |  | SNKBIOREF
| ANNUAL | LO | ACT_BND |  | 0 |  | 4 |  |  |  | UWODLIQ0
| ANNUAL | LO | ACT_BND |  | 2020 |  | 1.25 |  |  |  | UWODLIQ0
| ANNUAL | UP | ACT_BND |  | 2030 |  | 5.616 |  |  |  | UWODLIQ0
| ANNUAL |  | FLO_TAX |  | 2010 |  | 5 | 5 |  |  | FT-TRAHH20 |  |  | TRAHH2 |  | EUR10
| ANNUAL |  | FLO_COST |  | 2010 |  | 0.5 | 0.5 |  |  | ESTMOIL005 |  |  | INDBFO |  | EUR10
| ANNUAL | UP | ACT_BND |  | 2030 |  | 0 | 0 |  |  | ILPBIOFT005
|  |  | * |  | 0 |  | 0 | 0
|  |  | ACT_COST |  | 2030 |  | 0.005 | 0.0005 |  |  | CSTRASFINOS |  |  |  |  | EUR10
Pitko |  |  | PRC_RESID |  | 2050 |  | 8 |  |  |  | UPRNCB200
| ANNUAL |  | FLO_EMIS | BIOWOO | 2010 |  | 1 | 1 |  |  | FT-ELCBIO0 |  |  | BWENET
| ANNUAL |  | FLO_EMIS | BIOWOO | 2010 |  | 1 | 1 |  |  | FT-ELCBIO11 |  |  | BWENET
| ANNUAL |  | FLO_EMIS | BIOWOO | 2010 |  | 1 | 1 |  |  | FT-INDBIO0 |  |  | BWENET
| ANNUAL |  | FLO_EMIS | BIOWOO | 2010 |  | 1 | 1 |  |  | FT-INDBIO5 |  |  | BWENET
| ANNUAL |  | FLO_EMIS | BIOWOO | 2010 |  | 1 | 1 |  |  | FT-INDBSL0 |  |  | BWENET
| ANNUAL |  | FLO_EMIS | ACT | 2010 |  | 1 |  |  |  | IMPBIOTRDY |  |  | BWENET
*
| ANNUAL |  | FLO_EMIS | BIOCRP | 2030 | 10 |  |  |  |  | UBIOBSL200 |  |  | BIOCO2
| ANNUAL | FX | COM_BNDNET |  | 0 |  | 2 | 2 | [5 empty] | BIOBLQ
| ANNUAL | FX | COM_BNDNET |  | 0 |  | 2 | 2 | [5 empty] | INDBLQ

## FIN_DEM
[6 empty] | 2010 | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | [7 empty] | 0
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | 2035 | 0 | Pset_CO | Pset_CI | Pset_PN | Cset_Set | Cset_CN | TS_Filter | 2030 | 2040 | 2050 | 2070 | 2025 | 2035
Demands |  |  | * |  | FIN | 0 | 0 | 3 | 10 | 10 | 10 | 20 | 0 | 0 | 0
IND |  |  | COM_PROJ |  | FIN | 1 | 1 | 0.94093 | 0.86901 | 0.74481 | 0.63794 | 0.63794 | 0.90426 | 0.80452 | [5 empty] | ILP |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.048 | 1.099 | 1.0933 | 1.0372 | 1.0372 | 1.0772 | 1.1225 | [5 empty] | IIS |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0394 | 1.1325 | 1.0961 | 1.0628 | 1.1053 | 1.085 | 1.1142 | [5 empty] | INF |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.019 | 1.0542 | 1.1414 | 1.2196 | 1.4947 | 1.0236 | 1.0914 | [5 empty] | INM |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0543 | 1.1613 | 1.2526 | 1.341 | 1.5068 | 1.1523 | 1.2085 | [5 empty] | ICH |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.261 | 1.8173 | 2.288 | 2.6882 | 3.2566 | 1.5414 | 2.0758 | [5 empty] | IOQ |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0731 | 1.4999 | 1.8459 | 2.0907 | 2.3563 | 1.2918 | 1.6938 | [5 empty] | IOF |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0555 | 1.5979 | 2.0132 | 2.3126 | 2.6418 | 1.3224 | 1.8259 | [5 empty] | IOM |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0671 | 1.4906 | 1.8379 | 2.0841 | 2.3513 | 1.2842 | 1.6849 | [5 empty] | IOT |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0939 | 1.5617 | 1.9384 | 2.2549 | 2.6996 | 1.3309 | 1.7712 | [5 empty] | IOI |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.018 | 1.1341 | 1.2528 | 1.3716 | 1.5016 | 1.045 | 1.3512 | [5 empty] | IOW |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.061 | 1.4959 | 1.8738 | 2.1938 | 2.6466 | 1.2828 | 1.7044 | [5 empty] | IOC |  | 1 | 1 | 1 | 1 | 1 | 1
*
AGR |  |  | COM_PROJ |  | FIN | 16.7219 | 16.7219 | 0.009 | 0.006 | 0.004 | 0.003 | 0.002 | 0.0075 |  | 2019 |  |  |  |  | AGR |  | 1.2172
RH1 |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0324 | 1.1441 | 1.231 | 1.3089 | 1.3663 | 1.0863 | [6 empty] | RHB1D |  | 1
RH2 |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0151 | 1.0723 | 1.1664 | 1.2876 | 1.3799 | 1.0442 | [6 empty] | RHB2D |  | 2
CH1 |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0251 | 1.111 | 1.203 | 1.2973 | 1.3677 | 1.066 | [6 empty] | CHB1D |  | 3
*
RES |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.2042 | 2.1511 | 2.9479 | 3.819 | 4.9731 | 1.6095 | [6 empty] | RC1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0192 | 1.1067 | 1.1775 | 1.2375 | 1.3017 | [7 empty] | RK1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0317 | 1.1681 | 1.2564 | 1.3325 | 1.4141 | [7 empty] | RL1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0205 | 1.1123 | 1.1862 | 1.2468 | 1.3114 | [7 empty] | RRF
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0453 | 1.1958 | 1.2901 | 1.3659 | 1.4476 | [7 empty] | RCD
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0371 | 1.1579 | 1.2291 | 1.2942 | 1.3639 | [7 empty] | RCW
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0274 | 1.141 | 1.231 | 1.3033 | 1.3813 | [7 empty] | RDW
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0423 | 1.2176 | 1.3286 | 1.4229 | 1.5252 | [7 empty] | REA
COM |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.2007 | 2.0368 | 2.9574 | 3.749 | 5.0493 | [7 empty] | CC1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0585 | 1.2442 | 1.4018 | 1.5181 | 1.6773 | [7 empty] | CCK
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0898 | 1.3841 | 1.6383 | 1.8169 | 2.0682 | [7 empty] | CLA
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0585 | 1.2442 | 1.4018 | 1.5181 | 1.6773 | [7 empty] | CRF
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0943 | 1.4076 | 1.6825 | 1.8956 | 2.2012 | [7 empty] | COE
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0831 | 1.3338 | 1.5252 | 1.6517 | 1.825 | [7 empty] | COT
|  |  | * | [18 empty] | 2030 | 2040 | 2050 | 2070 | 2025 | 2035
Demands |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0348 | 1.0624 | 1.0833 | 1.1033 | 1.109 | 1.0472 | [6 empty] | TPRC |  | 1 | 1 | 1 | 1 | 1 | 1
TRA |  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0188 | 1.0151 | 1.023 | 1.0175 | 1.0175 | 1.0147 | [6 empty] | TFRL |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.042 | 1.1483 | 1.162 | 1.1125 | 1.1125 | 1.0985 | [6 empty] | TFRH |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.042 | 1.2188 | 1.2346 | 1.1949 | 1.1949 | 1.135 | [6 empty] | TFRM |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIN | 1 | 1 | 0.99837 | 1.0409 | 1.0494 | 1.0501 | 1.0122 | 1.0226 | [6 empty] | TPRB |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0196 | 1.0479 | 1.0894 | 1.1383 | 1.1399 | 1.0314 | [6 empty] | TPRW |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.0119 | 1.1409 | 1.112 | 1.0838 | 1.0838 | 1.0745 | [6 empty] | TFTN |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIN | 1 | 1 | 1.003 | 0.9982 | 0.98995 | 0.98244 | 0.95862 | 0.9967 | [6 empty] | TPTN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 0.93805 | 1.2654 | 1.2962 | 1.3278 | 1.3734 | 1.1124 | [6 empty] | TFSN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 0.6 | 1.2479 | 1.2479 | 1.2479 | 1.2479 | 1.1171 | [6 empty] | TPAN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIN | 1 | 1 | 0.58357 | 1.2735 | 1.3253 | 1.4647 | 1.4647 | 1.1779 | 1.3364 | [5 empty] | TPAI |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
Load-Effs | ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0.0095452 | 0.0091634 | 0 |  | 0.0098 | 2017 |  |  |  |  | TRT |  | 1 | 1.0997 | 1.2001 |  |  | 1.05
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRL
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRH
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRM
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRB
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRW
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TTF
| ANNUAL |  | COM_IE |  | FIN |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TTP
TRANGA | ANNUAL | LO | ACT_BND |  | FIN |  | 0.2 | 0.35 | 0.35 |  | 0.2 | 0.1 | [5 empty] | FT-TRANGA0
Shares |  | LO | PRC_MARK | CARELP | FIN |  |  | 0.02 | 0.11 | [8 empty] | TRTGHE01 |  | TRT
|  | LO | PRC_MARK | CARELP | FIN |  |  | 0.02 | 0.11 | [8 empty] | TRTDHE01 |  | TRT
|  | LO | PRC_MARK | CARELP | FIN |  |  | 0.02 | 0.11 | [8 empty] | TRTELC01 |  | TRT
|  | UP | PRC_MARK | VANELP | FIN |  |  | 0.12 | 0.33 | [8 empty] | TRLGHE01 |  | TRL
|  | UP | PRC_MARK | VANELP | FIN |  |  | 0.12 | 0.33 | [8 empty] | TRLDHE01 |  | TRL
|  | UP | PRC_MARK | VANELP | FIN |  |  | 0.12 | 0.33 | [8 empty] | TRLELC01 |  | TRL
|  | UP | PRC_MARK | TRCELP | FIN |  |  | 0.05 | 0.12 | 0.33 | 0.6 | [6 empty] | TRHDHE01 |  | TRH
|  | UP | PRC_MARK | TRCELP | FIN |  |  | 0.05 | 0.12 | 0.33 | 0.6 | [6 empty] | TRHELC01 |  | TRH
|  | UP | PRC_MARK | LORELP | FIN |  |  | 0.05 | 0.15 | 0.4 | 0.75 | [6 empty] | TRMDHE01 |  | TRM
|  | UP | PRC_MARK | LORELP | FIN |  |  | 0.05 | 0.15 | 0.4 | 0.75 | [6 empty] | TRMELC01 |  | TRM
|  | UP | PRC_MARK | BUSELP | FIN |  |  | 0.05 | 0.2 | 0.45 | 0.85 | [6 empty] | TRBDHE01 |  | TRB
|  | UP | PRC_MARK | BUSELP | FIN |  |  | 0.05 | 0.2 | 0.45 | 0.85 | [6 empty] | TRBELC01 |  | TRB
Agricult |  |  | *
| ANNUAL | FX | ACT_BND |  | FIN | 289.339 | 285 | 285 | 285 | 275 | 260 | [6 empty] | AGRDAIRY
| ANNUAL | FX | ACT_BND |  | FIN | 628.379 | 620 | 615 | 610 | 580 | 550 | [6 empty] | AGRCATLE
| ANNUAL | FX | ACT_BND |  | FIN | 1366.932 | 1430 | 1480 | 1550 | 1550 | 1550 | [6 empty] | AGRSWINE
| ANNUAL | FX | ACT_BND |  | FIN | 330.563 | 330 | 330 | 330 | 330 | 330 | [6 empty] | AGRSHEEP
| ANNUAL | FX | ACT_BND |  | FIN | 68.788 | 68.0925 | 68.0925 | 68.0925 | 68.0925 | 68.0925 | [6 empty] | AGRHORSE
| ANNUAL | FX | ACT_BND |  | FIN | 13086.815 | 13000 | 13000 | 13000 | 13000 | 13000 | [6 empty] | AGRPOULT
|  |  | PRC_RESID |  | FIN | 2000 | 2024.8457 | 2050 | 2100 | 2150 | 2200 | [6 empty] | ALANDUSE
| ANNUAL | FX | ACT_BND |  | FIN | 1946.4 | 1938.1827 | 1930 | 1900 | 1900 | 1900 | [6 empty] | ACULAND
Organic | ANNUAL | LO | FLO_SHAR | ACT | FIN | 0.9106 | 0.89517 | 0.88 | 0.85 | 0.82 | 0.78 | [6 empty] | ACULAND |  | DUM1
| ANNUAL | UP | FLO_SHAR | ACT | FIN | 0.94 | 0.93 | 0.92 | 0.88 | 0.86 | 0.84 | [6 empty] | ACULAND |  | DUM1

## FIM_DEM
[6 empty] | 2010 | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | 2035 | [6 empty] | 0
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | 2035 | 0 | Pset_CO | Pset_CI | Pset_PN | Cset_Set | Cset_CN | TS_Filter | 2030 | 2040 | 2050 | 2070 | 2025 | 2035
Demands |  |  | * |  | FIM | 0 |  | 0 | 0 | 0 | 0 | 0 |  |  | 0
IND |  |  | COM_PROJ |  | FIM | 1 | 1 | 0.94093 | 0.86901 | 0.74481 | 0.63794 | 0.63794 | 0.90426 | 0.80452 | [5 empty] | ILP |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.048 | 1.099 | 1.0933 | 1.0372 | 1.0372 | 1.0772 | 1.1225 | [5 empty] | IIS |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0394 | 1.1325 | 1.0961 | 1.0628 | 1.1053 | 1.085 | 1.1142 | [5 empty] | INF |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.019 | 1.0542 | 1.1414 | 1.2196 | 1.4947 | 1.0236 | 1.0914 | [5 empty] | INM |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0543 | 1.1613 | 1.2526 | 1.341 | 1.5068 | 1.1523 | 1.2085 | [5 empty] | ICH |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.261 | 1.8173 | 2.288 | 2.6882 | 3.2566 | 1.5414 | 2.0758 | [5 empty] | IOQ |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0731 | 1.4999 | 1.8459 | 2.0907 | 2.3563 | 1.2918 | 1.6938 | [5 empty] | IOF |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0555 | 1.5979 | 2.0132 | 2.3126 | 2.6418 | 1.3224 | 1.8259 | [5 empty] | IOM |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0671 | 1.4906 | 1.8379 | 2.0841 | 2.3513 | 1.2842 | 1.6849 | [5 empty] | IOT |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0939 | 1.5617 | 1.9384 | 2.2549 | 2.6996 | 1.3309 | 1.7712 | [5 empty] | IOI |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.018 | 1.1341 | 1.2528 | 1.3716 | 1.5016 | 1.045 | 1.3512 | [5 empty] | IOW |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.061 | 1.4959 | 1.8738 | 2.1938 | 2.6466 | 1.2828 | 1.7044 | [5 empty] | IOC |  | 1 | 1 | 1 | 1 | 1 | 1
Buildings |  |  | *
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.045 | 1.1657 | 1.2437 | 1.3204 | 1.3769 | 1.1257 | [6 empty] | RHB1D |  | 4
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.057 | 1.2397 | 1.3518 | 1.4146 | 1.4602 | 1.146 | [6 empty] | RHB2D |  | 5
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.045 | 1.1949 | 1.3331 | 1.4725 | 1.5788 | 1.1257 | [6 empty] | CHB1D |  | 6
|  |  | * |  | FIM
RES |  |  | COM_PROJ |  | FIM | 1 | 1 | 1.2225 | 2.2819 | 3.228 | 4.2678 | 4.6408 | 1.6702 | [6 empty] | RC1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0346 | 1.1676 | 1.2772 | 1.366 | 1.3938 | [7 empty] | RK1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0472 | 1.2322 | 1.3627 | 1.4706 | 1.5046 | [7 empty] | RL1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.036 | 1.1735 | 1.2867 | 1.3762 | 1.4042 | [7 empty] | RRF
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0631 | 1.2708 | 1.4153 | 1.5292 | 1.5652 | [7 empty] | RCD
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0548 | 1.2307 | 1.3486 | 1.4491 | 1.4808 | [7 empty] | RCW
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0451 | 1.2129 | 1.3507 | 1.4595 | 1.4938 | [7 empty] | RDW
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0556 | 1.2745 | 1.4243 | 1.5521 | 1.5927 | [7 empty] | REA
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.2235 | 2.1928 | 3.3128 | 4.3233 | 4.9389 | [7 empty] | CC1
COM |  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0705 | 1.2963 | 1.4921 | 1.6443 | 1.6929 | [7 empty] | CCK
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.1033 | 1.4483 | 1.7555 | 1.9811 | 2.0543 | [7 empty] | CLA
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0718 | 1.3022 | 1.5025 | 1.6558 | 1.7047 | [7 empty] | CRF
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.106 | 1.4639 | 1.7863 | 2.0479 | 2.1337 | [7 empty] | COE
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0948 | 1.3873 | 1.6195 | 1.7846 | 1.8374 | [7 empty] | COT
|  |  | * | [18 empty] | 2030 | 2040 | 2050 | 2070 | 2025 | 2035
TRA |  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0464 | 1.0519 | 1.0499 | 1.0347 | 0.99499 | 1.0514 | [6 empty] | TPRC |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0188 | 1.0151 | 1.023 | 1.0175 | 1.0175 | 1.0147 | [6 empty] | TFRL |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.042 | 1.1483 | 1.162 | 1.1125 | 1.1125 | 1.0985 | [6 empty] | TFRH |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.042 | 1.2188 | 1.2346 | 1.1949 | 1.1949 | 1.135 | [6 empty] | TFRM |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.018 | 1.1427 | 1.18 | 1.3268 | 1.5162 | 1.0826 | [6 empty] | TPRB |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0278 | 1.0983 | 1.1534 | 1.2 | 1.1944 | 1.0652 | [6 empty] | TPRW |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0119 | 1.1409 | 1.112 | 1.0838 | 1.0838 | 1.0745 | [6 empty] | TFTN |  | 1 | 0.97468 | 0.95 | 0.95 | 1 | 0.98726
|  |  | COM_PROJ |  | FIM | 1 | 1 | 1.0801 | 1.2919 | 1.4887 | 1.7088 | 2.0728 | 1.1971 | [6 empty] | TPTN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 0.93805 | 1.2654 | 1.2962 | 1.3278 | 1.3734 | 1.1124 | [6 empty] | TFSN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 0.6 | 1.2479 | 1.2479 | 1.2479 | 1.2479 | 1.1171 | [6 empty] | TPAN |  | 1 | 1 | 1 | 1 | 1 | 1
|  |  | COM_PROJ |  | FIM | 1 | 1 | 0.58357 | 1.2735 | 1.3253 | 1.4647 | 1.4647 | 1.1779 | 1.3364 | [5 empty] | TPAI |  | 1 | 0.94868 | 0.9 | 0.9 | 1 | 0.974
*
Load-Effs | ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRT
| ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRL
| ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRH
| ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRM
| ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRB
| ANNUAL |  | COM_IE |  | FIM |  |  | 0 | 0 | 0 | 0 |  |  |  | 2017 |  |  |  |  | TRW
TRANGA | ANNUAL | LO | ACT_BND |  | FIM |  | 0.03 | 0.05 | 0.1 |  | 0.1 | 0.1 | [5 empty] | FT-TRANGA0
*
Shares |  | LO | PRC_MARK | CARELP | FIM |  |  | 0.02 | 0.11 | [8 empty] | TRTGHE01 |  | TRT
|  | LO | PRC_MARK | CARELP | FIM |  |  | 0.02 | 0.11 | [8 empty] | TRTDHE01 |  | TRT
|  | LO | PRC_MARK | CARELP | FIM |  |  | 0.02 | 0.11 | [8 empty] | TRTELC01 |  | TRT
|  | UP | PRC_MARK | VANELP | FIM |  |  | 0.12 | 0.33 | [8 empty] | TRLGHE01 |  | TRL
|  | UP | PRC_MARK | VANELP | FIM |  |  | 0.12 | 0.33 | [8 empty] | TRLDHE01 |  | TRL
|  | UP | PRC_MARK | VANELP | FIM |  |  | 0.12 | 0.33 | [8 empty] | TRLELC01 |  | TRL
|  | UP | PRC_MARK | TRCELP | FIM |  |  | 0.05 | 0.12 | 0.33 | 0.6 | [6 empty] | TRHDHE01 |  | TRH
|  | UP | PRC_MARK | TRCELP | FIM |  |  | 0.05 | 0.12 | 0.33 | 0.6 | [6 empty] | TRHELC01 |  | TRH
|  | UP | PRC_MARK | LORELP | FIM |  |  | 0.05 | 0.15 | 0.4 | 0.75 | [6 empty] | TRMDHE01 |  | TRM
|  | UP | PRC_MARK | LORELP | FIM |  |  | 0.05 | 0.15 | 0.4 | 0.75 | [6 empty] | TRMELC01 |  | TRM
|  | UP | PRC_MARK | BUSELP | FIM |  |  | 0.05 | 0.2 | 0.45 | 0.85 | [6 empty] | TRBDHE01 |  | TRB
|  | UP | PRC_MARK | BUSELP | FIM |  |  | 0.05 | 0.2 | 0.45 | 0.85 | [6 empty] | TRBELC01 |  | TRB

## TERT_MISC
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2015 | 2020 | 2025 | 2030 | 2040 | 2050 | 2070 | 0 | Pset_Set | Pset_CI | Pset_PN | Tech_Desc | Cset_Set | Cset_CN
|  |  | * |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 2010 | 2017
Direct electricity |  | LO | FLO_MARK |  | FIN |  | 0.18561 |  | 0.13364 | 0.10691 | 0.08553 |  | 5 |  |  | RH1ELC005 |  |  | RH1 | RH1 | 0.29105 | 0.24105
heating |  | LO | PRC_MARK | RH1ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | RH1ELC705 |  |  | RH1 | RH2 | 0.1108 | 0.13717
|  | LO | PRC_MARK | RH1ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | RH1ERS000 |  |  | RH1 | CH1 | 0.1104 | 0.125
|  | LO | FLO_MARK |  | FIN |  | 0.10562 |  | 0.076048 | 0.060838 | 0.048671 |  | 5 |  |  | RH2ELC005 |  |  | RH2 | RH3 | 0.23511
|  | LO | PRC_MARK | RH2ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | RH2ELC705 |  |  | RH2 | RH4 | 0.34666
|  | LO | PRC_MARK | RH2ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | RH2ERS000 |  |  | RH2 | CH3 | 0.25979
|  | LO | FLO_MARK |  | FIN |  | 0.096248 |  | 0.069298 | 0.055439 | 0.044351 |  | 5 |  |  | CH1ELC005 |  |  | CH1
|  | LO | PRC_MARK | CH1ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | CH1ELC705 |  |  | CH1
|  | LO | PRC_MARK | CH1ELC005 | FIN |  | 0 | [5 empty] | 5 |  |  | CH1ERS000 |  |  | CH1
*
Transport |  | LO | FLO_MARK |  | FIN |  | 0.125 |  | 0.125 |  |  |  | 11 |  |  | FT-TRAGSL5 |  |  | TRAGSL
Base |  | LO | FLO_MARK |  | FIM |  | 0.125 |  | 0.125 |  |  |  | 11 |  |  | FT-TRAGSL5 |  |  | TRAGSL
constraints |  | UP | FLO_MARK |  | FIN |  | 0.13 |  | 0.15 | 0.25 | 0.33 |  | 5 |  |  | FT-TRAGSL5 |  |  | TRAGSL
|  | UP | FLO_MARK |  | FIM |  | 0.13 |  | 0.15 | 0.25 | 0.33 |  | 5 |  |  | FT-TRAGSL5 |  |  | TRAGSL
| ANNUAL | LO | FLO_SHAR | FT-TRADST5_NRGI | FIN |  | 0.2 | 0.27 | 0.35 |  |  |  | 5 |  |  | FT-TRADST5 |  |  | BIODST
| ANNUAL | LO | FLO_SHAR | FT-TRADST5_NRGI | FIM |  | 0.2 | 0.27 | 0.35 |  |  |  | 5 |  |  | FT-TRADST5 |  |  | BIODST
|  | UP | PRC_MARK | CARHDE | FIN |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTGHE01 |  |  | TRT
|  | UP | PRC_MARK | CARHDE | FIN |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTDHE01 |  |  | TRT
|  | UP | PRC_MARK | CARHDE | FIN |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTELC01 |  |  | TRT
|  | UP | PRC_MARK | CARHDE | FIM |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTGHE01 |  |  | TRT
|  | UP | PRC_MARK | CARHDE | FIM |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTDHE01 |  |  | TRT
|  | UP | PRC_MARK | CARHDE | FIM |  |  | 0.09 | 0.22 | 0.54 | 0.85 |  |  |  |  | TRTELC01 |  |  | TRT
|  | UP | PRC_MARK | CARFC | FIN |  |  |  | 0.04 | 0.11 | 0.2 |  |  |  |  | TRTHFC01 |  |  | TRT
|  | UP | PRC_MARK | CARFC | FIN |  |  |  | 0.04 | 0.11 | 0.2 |  |  |  |  | TRTMFC01 |  |  | TRT
|  | UP | PRC_MARK | CARFC | FIM |  |  |  | 0.04 | 0.11 | 0.2 |  |  |  |  | TRTHFC01 |  |  | TRT
|  | UP | PRC_MARK | CARFC | FIM |  |  |  | 0.04 | 0.11 | 0.2 |  |  |  |  | TRTMFC01 |  |  | TRT
|  | UP | PRC_MARK | TRMHD | FIN |  |  | 0.07 | 0.2 | 0.4 | 0.65 |  |  |  |  | TRMDHY01 |  |  | TRM
|  | UP | PRC_MARK | TRMHD | FIN |  |  | 0.07 | 0.2 | 0.4 | 0.65 |  |  |  |  | TRMDHE01 |  |  | TRM
|  | UP | PRC_MARK | TRMHD | FIM |  |  | 0.07 | 0.2 | 0.4 | 0.65 |  |  |  |  | TRMDHY01 |  |  | TRM
|  | UP | PRC_MARK | TRMHD | FIM |  |  | 0.07 | 0.2 | 0.4 | 0.65 |  |  |  |  | TRMDHE01 |  |  | TRM
|  | UP | PRC_MARK | TRHHD | FIN |  |  | 0.05 | 0.12 | 0.25 | 0.4 |  |  |  |  | TRHDHY01 |  |  | TRH
|  | UP | PRC_MARK | TRHHD | FIN |  |  | 0.05 | 0.12 | 0.25 | 0.4 |  |  |  |  | TRHDHE01 |  |  | TRH
|  | UP | PRC_MARK | TRHHD | FIM |  |  | 0.05 | 0.12 | 0.25 | 0.4 |  |  |  |  | TRHDHY01 |  |  | TRH
|  | UP | PRC_MARK | TRHHD | FIM |  |  | 0.05 | 0.12 | 0.25 | 0.4 |  |  |  |  | TRHDHE01 |  |  | TRH
~TFM_DINS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Cset_CD
|  |  | * |  | 0 | 0 | 0
|  | N | NCAP_BND |  | 0 | 2035 | 2035 |  |  | TRMMFC01
|  | N | NCAP_BND |  | 0 | 2035 | 2035 |  |  | TRMHFC01
|  | N | NCAP_BND |  | 0 | 2035 | 2035 |  |  | TRHMFC01
|  | N | NCAP_BND |  | 0 | 2035 | 2035 |  |  | TRHHFC01
| ANNUAL |  | * | TRDELC | 2030 | 0.9 | 0.9 |  |  | TRT_HE01
Heating fuels | ANNUAL | LO | ACT_BND |  | 2020 | 12 | 0.85 |  |  | FT-RESDST0
Residual | ANNUAL | LO | ACT_BND |  | 2020 | 4.5 | 0.2 |  |  | FT-COMDST0
Baseline |  |  | NCAP_TLIFE |  | 2020 | 1 | 1 |  |  | FT-RESDST0
|  |  | NCAP_TLIFE |  | 2020 | 1 | 1 |  |  | FT-COMDST0
| ANNUAL | UP | ACT_BND |  | 2025 | 0.55 | 0.05 |  |  | FT-RESCOP5
|  | N | NCAP_BND |  | 2025 | 2100 | 2100 |  |  | FT-RESCOP5
|  | FX | FLO_MARK |  | 0 | 1 | 1 |  |  | FT-TRAGSL5 |  |  | TRAGSL
~TFM_MIG
| TimeSlice | LimType | Attribute | Year | Year2 | FIN | FIM | Pset_CO | Pset_PN | Pset_CI | Pset_PD
Calibration |  |  | EFF | 2017 | 2015 | *1.1 | *1.1 | RH1 | RH1*00
|  |  | EFF | 2017 | 2015 | *1.1 | *1.1 | RH2 | RH2*00
|  |  | EFF | 2017 | 2015 | *1.1 | *1.1 | CH1 | CH1*00
|  |  | CEFF | 2017 | 2015 | *1.2 | *1.2 | AGRLTH | AGH*00
|  |  | INPUT | 2017 | 2015 | *0.84 | *0.84 | IOOI | IOOI*00
|  | LO | ACT_BND | 2017 | 2019 | *.65 | *.65 |  |  | COA*,OIL* | Fuel tech*

## ELC_MISC
~TFM_DINS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Curr
Nuclear |  | FX | NCAP_BND |  | 2030 | 0 |  |  |  | EURALWR-05
|  | N | NCAP_BND |  | 2035 | 2100 |  |  |  | ECOAPFU-05
| ANNUAL | UP | ACT_BND |  | 2020 | 50 | 25.22 |  |  | FT-ELCCOA0
| ANNUAL | UP | ACT_BND |  | 2030 | 6.7 | 0 |  |  | FT-ELCCOA0
| ANNUAL | UP | ACT_BND |  | 2040 | 1 | 0 |  |  | FT-ELCCOA0
| ANNUAL |  | FLO_DELIV |  | 2015 | 0.74 | 0.74 |  |  | FT-ELCHCO1 |  |  | COAHCO | EUR10
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2015 | 2020 | 2030 | 2040 | 2050 | 2070 | 0 | Pset_Set | Pset_CO | Pset_CI | Pset_PN | Tech_Desc | Cset_Set | Cset_CN
|  |  | * |  | FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [9 empty] | BASE | NEW
|  | UP | NCAP_AFA |  | FIN |  | 0.53462 | [8 empty] | EHYDDAM00 |  |  |  | EHYDDAM00 | 0.60726 | 0.52854 | 0.5407
|  | UP | NCAP_AFA |  | FIN |  | 0.42687 | [8 empty] | EHYDRUN00 |  |  |  | EHYDRUN00 | 0.46641 | 0.40595 | 0.44778
| ANNUAL | UP | NCAP_AF |  | FIN | 1 | 0.9 | [8 empty] | EHYDDAM00
| ANNUAL | UP | NCAP_AF |  | FIN | 1 | 0.9 | [8 empty] | EHYDRUN00
|  | LO | NCAP_AFA |  | FIM |  | 0.27 | [8 empty] | DHPGASP100
*
| ANNUAL | UP | COM_BNDPRD |  | FIN |  | 105.213 |  |  |  |  | 1 | [6 empty] | GASNGA
| ANNUAL | UP | COM_BNDPRD |  | FIN |  | 103.9 |  |  |  |  | 1 | [6 empty] | COAHCO
| ANNUAL | LO | COM_BNDPRD |  | FIN | 4.1 | 5.6 |  |  |  |  | 5 | [6 empty] | BIOPLT
|  | LO | PRC_MARK | ECOACAL | FIN |  | 0.056681 |  |  |  |  | 1 |  |  |  | ECOAGEN00 |  |  | ELCC
| ANNUAL | UP | ACT_BND |  | FIN |  | 14.76 |  |  |  |  | 1 |  |  |  | ECOAGEN00
| ANNUAL | UP | ACT_BND |  | FIN | 45 | 37 | 27 |  |  |  | 1 |  |  |  | FT-ELCBCO1
*
|  |  | PRC_RESID |  | FIM |  | 0.1 | 0.15 | 0.15 | 0.15 | [5 empty] | HET1HTPUMP
|  |  | PRC_RESID |  | FIN |  | 0.05 | 0.05 | 0.05 | 0.05 | [5 empty] | HET1HTPUMP
| ANNUAL | LO | ACT_BND |  | FIM |  | 2.459 | 4.786 |  |  |  | 5 |  |  |  | HET1HTPUMP
| ANNUAL | LO | ACT_BND |  | FIN |  | 1.024 | 3.871 |  |  |  | 5 |  |  |  | HET1HTPUMP
|  | UP | NCAP_AFA |  | FIN | 0.92 | 0.90473 | 0.92 | 0.87462 | 0.91324 | [5 empty] | ENUCGEN10
|  | UP | NCAP_AFA |  | FIN | 0.92 | 0.90473 | 0.92 | 0.87462 | 0.91324 | [5 empty] | ENUCGEN20
|  | UP | NCAP_AFA |  | FIN | 0.91324 | [9 empty] | EURALWR-05
| ANNUAL | UP | NCAP_AF |  | FIN | 0.96 | [9 empty] | EURALWR-05
| ANNUAL | LO | FLO_SHAR | DHP1BIOBFB-0_NRGI | FIM |  | 0.7 | 0.7 |  | 0.7 |  | 5 |  |  |  | DHP1BIOBFB-0 |  |  | EL1BIO
| ANNUAL | UP | FLO_SHAR | DHP1BIOBFB-0_NRGI | FIM |  | 0.8 | 0.8 |  | 0.85 |  | 5 |  |  |  | DHP1BIOBFB-0 |  |  | EL1BIO
| ANNUAL | UP | FLO_SHAR | NRG | FIM |  |  | 0.4 | [7 empty] | DHPCOAP100 |  |  | ELCBIO
*
|  | UP | CAP_BND |  | FIN |  |  |  | 2230.5172 | 3800 | 4180 |  |  |  |  | EWINDON3-05
|  | UP | CAP_BND |  | FIN |  |  |  | 5110.3145 | 7800 | 8580 |  |  |  |  | EWINDON4-05
| ~UC_SETS: R_S: FIN,FIM | [7 empty] | ~UC_T
| UC_N | PSet: CI | PSet: PN | PSet: PD | Cset: CN | Year | LimType | Other_Indexes | Attribute | WEU | FIN | FIM | UC_RHSTS | UC_RHSTS~0 | UC_Desc
| FORCHIP | EL_BIO | DHP*,HET* |  | EL_BIO | 2010 | LO |  | UC_FLO |  | 1 | 1 | 29.1 | 5 | Forest fuels for DHP
[6 empty] | 2020 | LO | [5 empty] | 48.433
[6 empty] | 2030 | LO | [5 empty] | 61.58
[6 empty] | 2035 | LO | [5 empty] | 70.459
| U_HTPUMP |  | R*,C* | *PUMP.* | *ELC,-_CLELC | 2030 | LO |  | UC_FLO |  | -1 | -1 |  | 5 | In-house heat pumps
|  | *ELC | R*,C* | *PUMP.* | RH_,RW_,CH_ | 2030 |  |  | UC_FLO |  | 1 | 1
[6 empty] | 2030 | LO |  | UC_RHSTS |  | 21.6 | 21.6
| U_MinNtELI |  | IMPELCFIM |  | ELCC | 2020 |  | IMP | UC_IRE-I |  |  | 1 |  |  | Metro import
|  |  | IMPELCFIN |  | ELCE | 2020 |  | EXP | UC_IRE-E |  |  | -1
[6 empty] | 2010 | LO |  | UC_RHSRTS |  |  | 3.1536
| U_ElcDHP |  | DH*,EHYNP* |  | ELCC,ELCMP,ELCDP | 2020 | UP |  | UC_FLO |  | 1 | 1 | 52.5744 |  | Max DHP
| U_NetELIMP |  | *ELC-___-* |  | ELCC | 2020 |  | IMP | UC_IRE-I |  | 0.98 |  |  |  | Min net imports of ELC
|  |  | *ELC-___-* |  | ELCE | 2020 |  | EXP | UC_IRE-E |  | -1
[6 empty] | 2010 | LO |  | UC_RHSRTS |  | 37.332
[6 empty] | 2015 | LO |  | UC_RHSRTS |  | 58.788
[6 empty] | 2017 | LO |  | UC_RHSRTS |  | 73.44
[6 empty] | 2020 | LO |  | UC_RHSRTS |  | 11.88
[6 empty] | 2020 | UP |  | UC_RHSRTS |  | 66.564
| MINGRO |  | ONON000 |  |  | 2040 |  |  | UC_ACT |  | 0.96
| ~UC_SETS: R_E: FIN, FIM | [5 empty] | ~UC_T
| UC_N | Pset: PN | Cset: CN | SIDE | Year | LimType | Attribute | FIN | FIM
| MAXGRO | EDSOLRES05 |  | LHS | 2030 |  | UC_CAP | 1.16 | 1.16
|  | EDSOLRES05 |  | LHS | 2040 |  | UC_CAP | 1.1 | 1.1
|  | EDSOLRES05 |  | LHS | 2050 |  | UC_CAP | 1.07 | 1.07
|  | EDSOLRES05 |  | RHS | 2015 |  | UC_CAP | 0.05 | 0.02
|  | EDSOLCOM05 |  | LHS | 2030 |  | UC_CAP | 1.16 | 1.16
|  | EDSOLCOM05 |  | LHS | 2040 |  | UC_CAP | 1.1 | 1.1
|  | EDSOLCOM05 |  | LHS | 2050 |  | UC_CAP | 1.07 | 1.07
|  | EDSOLCOM05 |  | RHS | 2015 |  | UC_CAP | 0.05 | 0.02

## Emis
~TFM_DINS
| TimeSlice | LimType | Attribute | Other_Indexes | Year | FIN | FIM | Pset_CO | Pset_CI | Pset_PN | Pset_PD | Cset_Set | Cset_CN | Curr
|  |  | COM_AGG | AGRN2OP | 2010 | 17.5 | 17.5 | [5 empty] | BIOCRP
|  |  | COM_AGG | SNKELCCO2 | 2020 | 1 | [6 empty] | SNKTOTCO2
| ANNUAL |  | COM_CSTNET |  | 2020 | 0.005 | [6 empty] | SNKTOTCO2 | EUR10
|  |  | FLO_EMIS | INDCO2P |  | 1 |  |  |  | INMCRM000 |  |  | NONCO2T
|  |  | FLO_EMIS | INDCO2P |  | 1 |  |  |  | ICH000 |  |  | NONCO2T
|  |  | FLO_EMIS | INDCO2N |  | 1 | 1 |  |  | NEO000 |  |  | NONCO2T
~TFM_DINS-TS
| TimeSlice | LimType | Attribute | Other_Indexes | Region | 2010 | 2015 | 2020 | 2030 | 2040 | 2050 | 2070 | 0 | Pset_CI | Pset_PN | Pset_PD | Cset_CN
| ANNUAL |  | FLO_EMIS | AGRLAND | FIN | 2.4127 | 2.468 | 2.5233 | 2.6495 | 2.6495 |  |  |  |  | ACULAND |  | AGRN2OP
| ANNUAL |  | FLO_EMIS | AGRLAND | FIN | 0.12639 | 0.11454 | 0.11503 | 0.11684 | 0.11684 |  |  |  |  | ACULAND |  | AGRCO2P
*
2.B Chemical | ANNUAL |  | FLO_EMIS | ACT | FIN | 135.1685 | 137.8719 |  | 144.7655 |  | 144.7655 |  |  |  | ICH000 |  | INDCO2P
1.B.1 | ANNUAL | UP | FLO_BND | UPNREFC | FIN | 100 | [6 empty] | 5 |  | UTRNREFX00 |  | UPNREFC
| ANNUAL | LO | FLO_BND | UPNREFC | FIN | 96 | 95 | 90 | 84 | 60.48 | 36.96 |  | 5 |  | UTRNREFX00 |  | UPNREFC
Waste | ANNUAL |  | FLO_EMIS | ACT | FIN | 40 | 40 | 40 | 40 | [5 empty] | FT-ELCBMU0 |  | NONCO2T
Waste | ANNUAL |  | FLO_EMIS | ACT | FIM | 40 | 40 | 40 | 40 | [5 empty] | FT-ELCBMU0 |  | NONCO2T
1.C capture | ANNUAL |  | FLO_EMIS | ACT | FIN | 0 | -129.7607 | -123.2359 | -113.817 | [5 empty] | I00000 |  | INDCO2P
| ANNUAL |  | FLO_EMIS | ACT | FIN | 0 | -129.7607 | -123.2359 | -113.817 | [5 empty] | I00000 |  | NONCO2T
Indirect | ANNUAL |  | FLO_EMIS | ACT | FIM | 96 | 80 | 80 | 80 | [5 empty] | I00000 |  | INDCO2P
xCO3 uses | ANNUAL |  | FLO_EMIS | ACT | FIN | 201.8182 | [8 empty] | INMCRM000 |  | INDCO2P
|  |  | PRC_ACTFLO | NONCO2T | FIN | 0.21 | [8 empty] | DNETSCO2
BECCS-Lim | ANNUAL | UP | ACT_BND |  | FIN |  |  |  | 5000 | 8000 | 11000 | 13000 |  |  | TOTCO2SN0
~UC_SETS: R_E: FIN
~UC_T
| UC_N | PSet: CI | PSet: CO | PSet: PN | PSet: PD | Cset: CN | LimType | Other_Indexes | Year | Attribute | 2020 | 2030 | 2040 | 2050 | UC_RHSRT | UC_Desc |  | UC_RHSRT
| DNTSDIR | ELCOIL | HET2,HET4 | HET* |  | ELCOIL | FX |  | 0 | UC_FLO | 76 |  |  |  | 5 | Fix CO2 from OIL+COA+BCO |  | 5
|  | ELCCOA | HET2,HET4 | HET* |  | ELCCOA | FX |  | 2010 | UC_FLO | 92.7 |  |  |  | 0 |  |  | 0
|  | ELCBCO | HET2,HET4 | HET* |  | ELCBCO |  |  |  | UC_FLO | 102
|  |  |  | DNETSCO2 |  | DUM1 |  |  |  | UC_FLO | -1
| DNTSGOILO | ELCGOI | HET2,HET4 | HET* |  | ELCGOI | LO |  | 0 | UC_FLO | 77.1 |  |  |  | 5 | Max CO2 from GOI |  | 5
|  |  |  | DNETSCO2 |  | DUM2 | LO |  | 2010 | UC_FLO | -1 |  |  |  | 0 |  |  | 0
| DNTSGOIUP | ELCGOI | HET2,HET4 | HET* |  | ELCGOI | UP |  | 0 | UC_FLO | 77.1 |  |  |  | 5 | Min CO2 from GOI |  | 5
|  |  |  | FT-ELCHOIL0 |  | BIODST | UP |  | 2010 | UC_FLO | -30.84 |  |  |  | 0 |  |  | 0
|  |  |  | FT-ELCHOIL0 |  | OILDST |  |  |  | UC_FLO | -1.5
|  |  |  | DNETSCO2 |  | DUM2 |  |  |  | UC_FLO | -1
| DNTSGASLO | ELCNGA | HET2,HET4 | HET* |  | ELCNGA | LO |  | 0 | UC_FLO | 56.1 |  |  |  | 5 | Max CO2 from gas |  | 5
|  |  |  | DNETSCO2 |  | DUM3 | LO |  | 2010 | UC_FLO | -1 |  |  |  | 0 |  |  | 0
| DNTSGASUP | ELCNGA | HET2,HET4 | HET* |  | ELCNGA | UP |  | 0 | UC_FLO | 56.1 |  |  |  | 5 | Min CO2 from gas |  | 5
|  |  |  | FT-ELCNGA1 |  | SYNGAS | UP |  | 2010 | UC_FLO | -22.44 |  |  |  | 0 |  |  | 0
|  |  |  | DNETSCO2 |  | DUM3 |  |  |  | UC_FLO | -1

## CLIPOL
| 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
Total GHG | 34.8699 | 23.2466 | 11.6233 | 0 | -2.9996 | -5.387 | -7.7744
Total GHG, excl. LULUCF | 50.9963 | 41.6928 | 32.3892 | 20.7659 | 17.7663 | 15.9897 | 14.2131
LULUCF | -16.1264 | -18.4462 | -20.7659 | -20.7659 | -20.7659 | -21.3767 | -21.9874
modelled CO₂ | 40.8533 | 32.4143 | 23.9753 | 12.9922 | 10.6329 | 9.4965 | 8.3601 |  | lower non-CO2 than in CNN
| 10.1431 | 9.2785 | 8.4139 | 7.7737 | 7.1334 | 6.4932 | 5.853
Bunker Permit Price |  | 20 | 25 | 30 | 40 | 50 | 60
~UC_SETS: R_S: FIN,FIM |  |  |  |  | ~UC_T
UC_N | Pset: PN | PSet: CI | Cset: CN | LimType | Attribute | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 0 | UC_Desc
A_MAXCO2EM |  |  | TOTCO2 |  | UC_COMNET | bar: 2025 to 0
|  |  |  | UP | UC_RHST | 32414.2812 | 23975.2985 | 12992.2198 | 10632.8697 | 9496.4612 | 8360.0527 | 5
S_EUnonETS-FIN-base |  |  | NONCO2T |  | UC_COMNET | bar: 2025 to 0
|  |  |  | UP | UC_RHST | 2030: 20569.2; 2040: 16860; 2050: 13488; 0: 5
~TFM_DINS-TS
TimeSlice | LimType | Attribute | Curr | Region | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | 0 | Pset_PN | Cset_CN
ANNUAL |  | COM_TAXNET | EUR15 | FIN | 0.02 | 0.025 | 0.03 | 0.04 | 0.05 | 0.06 | 5 |  | TRACO2B
ANNUAL |  | COM_TAXNET | EUR15 | FIM | 0.02 | 0.025 | 0.03 | 0.04 | 0.05 | 0.06 | 5 |  | TRACO2B
~TFM_MIG
|  | Attribute | Year | Year2 | 2025: FIN; 2030: FIM; 2035: Pset_PN; 2040: SourceScen
|  | NCAP_AF | 2010 | 2030 | 2025: *1.0894; 2030: *1.0894; 2035: TRT*; 2040: IND-RES-TRA_FIN |  | Year | 2030 | 2040 | 2050
|  | NCAP_AF | 2010 | 2040 | 2025: *1.1789; 2030: *1.1789; 2035: TRT*; 2040: IND-RES-TRA_FIN |  | _AFA | 1.0894 | 1.1789 | 1.2683
|  | NCAP_AF | 2010 | 2050 | 2025: *1.2683; 2030: *1.2683; 2035: TRT*; 2040: IND-RES-TRA_FIN |  | LIFE | 0.98916 | 0.97832 | 0.96748
|  | NCAP_TLIFE | 2010 | 2030 | 2025: *0.98; 2030: *0.98; 2035: TRT*; 2040: FI_SECEXTRA
|  | NCAP_TLIFE | 2010 | 2040 | 2025: *0.97; 2030: *0.97; 2035: TRT*; 2040: FI_SECEXTRA
|  | NCAP_TLIFE | 2010 | 2050 | 2025: *0.96; 2030: *0.96; 2035: TRT*; 2040: FI_SECEXTRA
~TFM_INS
|  | Attribute | Year | Other_Indexes | 2025: FIN; 2030: FIM; 2035: Pset_PN; 2040: Cset_CN
|  | FLO_EMIS | 2030 | ACT | 2025: 1600; 2030: 1600; 2035: TRT*; 2040: TPD
|  | FLO_EMIS | 2050 | ACT | 2025: 1920; 2030: 1920; 2035: TRT*; 2040: TPD
|  | FLO_FUNCX | 2025 | TPD | 2025: 91; 2030: 91; 2035: TRT*; 2040: TPD
|  | FLO_FUNCX | 2030 | TPD | 2025: 92; 2030: 92; 2035: TRT*; 2040: TPD
|  | FLO_FUNCX | 2035 | TPD | 2025: 92; 2030: 92; 2035: TRT*; 2040: TPD
|  | FLO_FUNCX | 2040 | TPD | 2025: 92; 2030: 92; 2035: TRT*; 2040: TPD
|  | FLO_FUNCX | 2045 | TPD | 2025: 92; 2030: 92; 2035: TRT*; 2040: TPD
|  | SHAPE | 10 | 91 | bar: 2025 to 2030
|  | SHAPE | 11 | 91 | 2025: 1.0435; 2030: 1.0435
|  | SHAPE | 15 | 91 | 2025: 1.0435; 2030: 1.0435
|  | SHAPE | 16 | 91 | 2025: 1.0909; 2030: 1.0909
|  | SHAPE | 5 | 92 | bar: 2025 to 2030
|  | SHAPE | 6 | 92 | 2025: 1.0435; 2030: 1.0435
|  | SHAPE | 10 | 92 | 2025: 1.0435; 2030: 1.0435
|  | SHAPE | 11 | 92 | 2025: 1.0909; 2030: 1.0909
|  | SHAPE | 15 | 92 | 2025: 1.0909; 2030: 1.0909
|  | SHAPE | 16 | 92 | 2025: 1.1429; 2030: 1.1429

## ELConn
Additional Interconnection Capacities / Flows
~TFM_DINS-TS
|  | LimType | Attribute | Timeslice | Region | 2030 | 2040 | 2050 | 2070 | 2100 | 0 | Pset_Set | Pset_PN | Cset_Set | Cset_CN | CUMCAP
SE1 Link |  |  | NCAP_TLIFE |  | FIN | 40 | [6 empty] | X-ELC-SE1-FIN
SE1 Link |  |  | NCAP_TLIFE |  | SE1 | 40 | [6 empty] | X-ELC-SE1-FIN
SE1 Link |  |  | NCAP_PASTI |  | FIN | 0 | [6 empty] | X-ELC-SE1-FIN |  |  | 0
SE1 Link |  |  | NCAP_PASTI |  | SE1 | 0 | [6 empty] | X-ELC-SE1-FIN |  |  | 0
SE3 Link |  |  | NCAP_PASTI |  | FIN | 0 | [6 empty] | X+ELC-SE3-FIN |  |  | 0
SE3 Link |  | UP | CAP_BND |  | FIN | 1000 | 2000 | 3000 |  |  | 5 |  | X+ELC-SE3-FIN
*
Hydrogen |  |  | START |  | FIN | [5 empty] | 2150 |  | EXPSYNHYN
|  | LO | ACT_BND | ANNUAL | FIN | 0 | 0 | 0 |  |  | 5 |  | EXPSYNHYN

## DEMPROJ
Demand projections | [5 empty] | 0 | 1 | 2 | 3 | 4
BUILDINGS DEMAND
|  | 2017 | 2020 | 2025 | 2030 | 2040 | 2050 | 2070
FIN | SFH | 1 | 1.0324 | 1.0863 | 1.1441 | 1.231 | 1.3089 | 1.3663
| MFH | 1 | 1.0151 | 1.0442 | 1.0723 | 1.1664 | 1.2876 | 1.3799
| COM | 1 | 1.0251 | 1.066 | 1.111 | 1.203 | 1.2973 | 1.3677
FIM | SFH | 1 | 1.045 | 1.1257 | 1.1657 | 1.2437 | 1.3204 | 1.3769
| MFH | 1 | 1.057 | 1.146 | 1.2397 | 1.3518 | 1.4146 | 1.4602
| COM | 1 | 1.045 | 1.1257 | 1.1949 | 1.3331 | 1.4725 | 1.5788
FIN | RHW | 1 | 1.0142 | 1.0378 | 1.059 | 1.0805 | 1.0993 | 1.1147
FIM | RHW | 1 | 1.0347 | 1.0874 | 1.1344 | 1.2001 | 1.2536 | 1.2925
FIN | CHW | 1 | 1.0546 | 1.1476 | 1.2333 | 1.383 | 1.5163 | 1.6171
FIM | CHW | 1 | 1.0643 | 1.169 | 1.2651 | 1.4351 | 1.5833 | 1.7737
COOLING, APPLIANCES & LIGHTING
ROFIN | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 |  |  |  | METRO | 2017 | 2020 | 2030 | 2040 | 2050 | 2070
RC1 | 1 | 1.2042 | 2.1511 | 2.9479 | 3.819 | 4.9731 |  |  |  | RC1 | 1 | 1.2225 | 2.2819 | 3.228 | 4.2678 | 4.6408
RK1 | 1 | 1.0192 | 1.1067 | 1.1775 | 1.2375 | 1.3017 |  |  |  | RK1 | 1 | 1.0346 | 1.1676 | 1.2772 | 1.366 | 1.3938
RL1 | 1 | 1.0317 | 1.1681 | 1.2564 | 1.3325 | 1.4141 |  |  |  | RL1 | 1 | 1.0472 | 1.2322 | 1.3627 | 1.4706 | 1.5046
RRF | 1 | 1.0205 | 1.1123 | 1.1862 | 1.2468 | 1.3114 |  |  |  | RRF | 1 | 1.036 | 1.1735 | 1.2867 | 1.3762 | 1.4042
RCD | 1 | 1.0453 | 1.1958 | 1.2901 | 1.3659 | 1.4476 |  |  |  | RCD | 1 | 1.0631 | 1.2708 | 1.4153 | 1.5292 | 1.5652
RCW | 1 | 1.0371 | 1.1579 | 1.2291 | 1.2942 | 1.3639 |  |  |  | RCW | 1 | 1.0548 | 1.2307 | 1.3486 | 1.4491 | 1.4808
RDW | 1 | 1.0274 | 1.141 | 1.231 | 1.3033 | 1.3813 |  |  |  | RDW | 1 | 1.0451 | 1.2129 | 1.3507 | 1.4595 | 1.4938
REA | 1 | 1.0423 | 1.2176 | 1.3286 | 1.4229 | 1.5252 |  |  |  | REA | 1 | 1.0556 | 1.2745 | 1.4243 | 1.5521 | 1.5927
CC1 | 1 | 1.2007 | 2.0368 | 2.9574 | 3.749 | 5.0493 |  |  |  | CC1 | 1 | 1.2235 | 2.1928 | 3.3128 | 4.3233 | 4.9389
CCK | 1 | 1.0585 | 1.2442 | 1.4018 | 1.5181 | 1.6773 |  |  |  | CCK | 1 | 1.0705 | 1.2963 | 1.4921 | 1.6443 | 1.6929
CLA | 1 | 1.0898 | 1.3841 | 1.6383 | 1.8169 | 2.0682 |  |  |  | CLA | 1 | 1.1033 | 1.4483 | 1.7555 | 1.9811 | 2.0543
CRF | 1 | 1.0585 | 1.2442 | 1.4018 | 1.5181 | 1.6773 |  |  |  | CRF | 1 | 1.0718 | 1.3022 | 1.5025 | 1.6558 | 1.7047
COE | 1 | 1.0943 | 1.4076 | 1.6825 | 1.8956 | 2.2012 |  |  |  | COE | 1 | 1.106 | 1.4639 | 1.7863 | 2.0479 | 2.1337
COT | 1 | 1.0831 | 1.3338 | 1.5252 | 1.6517 | 1.825 |  |  |  | COT | 1 | 1.0948 | 1.3873 | 1.6195 | 1.7846 | 1.8374
INDUSTRY (Assumed same for sub-regions)
FIN | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 | 2035
ILP | 1 | 0.94093 | 0.86901 | 0.7851 | 0.70882 | 0.70882 | 0.90426 | 0.82599
IIS | 1 | 1.048 | 1.099 | 1.1525 | 1.1525 | 1.1525 | 1.0772 | 1.1525
INF | 1 | 1.0394 | 1.1325 | 1.1554 | 1.1809 | 1.2281 | 1.085 | 1.1439
INM | 1 | 1.019 | 1.0542 | 1.2031 | 1.3551 | 1.6608 | 1.0236 | 1.1206
ICH | 1 | 1.0543 | 1.1613 | 1.2526 | 1.341 | 1.5068 | 1.1523 | 1.2085
IOQ | 1 | 1.261 | 1.8173 | 2.288 | 2.6882 | 3.2566 | 1.5414 | 2.0758
IOF | 1 | 1.0731 | 1.4999 | 1.8459 | 2.0907 | 2.3563 | 1.2918 | 1.6938
IOM | 1 | 1.0555 | 1.5979 | 2.0132 | 2.3126 | 2.6418 | 1.3224 | 1.8259
IOT | 1 | 1.0671 | 1.4906 | 1.8379 | 2.0841 | 2.3513 | 1.2842 | 1.6849
IOI | 1 | 1.0939 | 1.5617 | 1.9384 | 2.2549 | 2.6996 | 1.3309 | 1.7712
IOW | 1 | 1.018 | 1.1341 | 1.2528 | 1.3716 | 1.5016 | 1.045 | 1.3512
IOC | 1 | 1.061 | 1.4959 | 1.8738 | 2.1938 | 2.6466 | 1.2828 | 1.7044
TRANSPORT
ROFIN | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025 |  |  | METRO | 2017 | 2020 | 2030 | 2040 | 2050 | 2070 | 2025
TRT | 1 | 1.0348 | 1.0624 | 1.0833 | 1.1033 | 1.109 | 1.0472 |  |  | TRT | 1 | 1.0464 | 1.0519 | 1.0499 | 1.0347 | 0.99499 | 1.0514
TRL | 1 | 1.0188 | 1.0151 | 1.0496 | 1.0711 | 1.0711 | 1.0147 |  |  | TRL | 1 | 1.0188 | 1.0151 | 1.0496 | 1.0711 | 1.0711 | 1.0147
TRH | 1 | 1.042 | 1.1483 | 1.1922 | 1.1711 | 1.1711 | 1.0985 |  |  | TRH | 1 | 1.042 | 1.1483 | 1.1922 | 1.1711 | 1.1711 | 1.0985
TRM | 1 | 1.042 | 1.2188 | 1.2667 | 1.2577 | 1.2577 | 1.135 |  |  | TRM | 1 | 1.042 | 1.2188 | 1.2667 | 1.2577 | 1.2577 | 1.135
TRB | 1 | 0.99837 | 1.0409 | 1.0494 | 1.0501 | 1.0122 | 1.0226 |  |  | TRB | 1 | 1.018 | 1.1427 | 1.18 | 1.3268 | 1.5162 | 1.0826
TRW | 1 | 1.0196 | 1.0479 | 1.0894 | 1.1383 | 1.1399 | 1.0314 |  |  | TRW | 1 | 1.0278 | 1.0983 | 1.1534 | 1.2 | 1.1944 | 1.0652
TTF | 1 | 1.0119 | 1.1409 | 1.1409 | 1.1409 | 1.1409 | 1.0745 |  |  | TTF | 1 | 1.0119 | 1.1409 | 1.1409 | 1.1409 | 1.1409 | 1.0745
TTP | 1 | 1.003 | 0.9982 | 0.98995 | 0.98244 | 0.95862 | 0.9967 |  |  | TTP | 1 | 1.0801 | 1.2919 | 1.4887 | 1.7088 | 2.0728 | 1.1971
TWD | 1 | 0.93805 | 1.2654 | 1.2962 | 1.3278 | 1.3734 | 1.1124 |  |  | TWD | 1 | 0.93805 | 1.2654 | 1.2962 | 1.3278 | 1.3734 | 1.1124
TAD | 1 | 0.6 | 1.2479 | 1.2479 | 1.2479 | 1.2479 | 1.1171 |  |  | TAD | 1 | 0.6 | 1.2479 | 1.2479 | 1.2479 | 1.2479 | 1.1171
TAI | 1 | 0.58357 | 1.2735 | 1.397 | 1.6274 | 1.6274 | 1.1779 | 1.3721 |  | TAI | 1 | 0.58357 | 1.2735 | 1.397 | 1.6274 | 1.6274 | 1.1779 | 1.3721

## GetData
~TFM_FILL
Operation_Sum_Avg_Count | Scenario Name | Attribute | Year | Cset_CN | FIN
S | BASE | COM_PROJ | 2010 | AGR | 16.7219